{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["班组本周故障","班组本年度故障","单位本周故障","工单统计","供电所供电质量","本周配变停运","本月配变停运"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"班组本周故障","index":0,"n_rows":4,"n_cols":7,"rows_kept":4,"merged":[[0,0,0,6]],"flags":["formulas_cached_only"]}
["班组本周故障                                                                                                                      （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["班组","故障线路","故障原因","重合成功","重合不成","无重合闸","接地"]
["大冈供电所","10kv龙灯线","125-10线路出现问题",0,0,2,1]
["配网二班","10kv力光线","15#杆出现问题",1,1,0,0]

{"sheet":"班组本年度故障","index":1,"n_rows":4,"n_cols":5,"rows_kept":4,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["班组本年度故障                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["班组","重合成功","重合不成","无重合闸","接地"]
["配网一班",0,3,7,0]
["配网二班",0,2,12,3]

{"sheet":"单位本周故障","index":2,"n_rows":5,"n_cols":2,"rows_kept":5,"merged":[[0,0,0,1]],"flags":["formulas_cached_only"]}
["单位本周故障                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["单位","故障次数"]
["盐都",4]
["工区",1]
["滨海",6]

{"sheet":"工单统计","index":3,"n_rows":3,"n_cols":6,"rows_kept":3,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["工单统计                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["频繁停电","多次停电","处理时间长","民事赔偿","运检类投诉","运检类意见"]
[5,4,1,10,10,8]

{"sheet":"供电所供电质量","index":4,"n_rows":4,"n_cols":4,"rows_kept":4,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["供电所供电质量                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["供电所","线路重超载","配变重超载","低电压"]
["盐都直属",2,3,4]
["大冈",5,6,7]

{"sheet":"本周配变停运","index":5,"n_rows":4,"n_cols":7,"rows_kept":4,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["本周配变停运                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["供电所","配变数量","故障停运台次","重复停运台次","配变重复停运率"]
["盐都直属",1943,0,0,0,null,"备注：配变重复停运率单位：%，并保留两位小数"]
["大冈",591,0,22,3.72]

{"sheet":"本月配变停运","index":6,"n_rows":4,"n_cols":7,"rows_kept":4,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["本月配变停运                                                                                                                     （备注：表格格式请勿修改，数据只能从第三行开始往下添加行填写）"]
["供电所","配变数量","故障停运台次","重复停运台次","配变重复停运率"]
["盐城直属",1943,0,0,0,null,"备注：配变重复停运率单位：%，并保留两位小数"]
["大冈",591,0,22,3.72]